## 2022_usage_added
| plant_name | 2022_usage | capacity_mw | start | net_generation_gwh | usage | 2021_cost_per_unit | 2022_cost_per_unit | own_IPP | own_Joint venture | own_Public | own_RENTAL & SIPP | fuel_GAS | fuel_HFO | fuel_HSD | fuel_HYDRO | fuel_SOLAR | fuel_WIND | location | district_code | 2022_units
7 | Kumargao 10 MW Desh Combridge (15 Yrs) | 86 | 10 | 2009 | 61.4628 | 0.7 | 3.84 | 3.62 | False | False | False | True | True | False | False | False | False | False | Kumargaon, Sylhet | sylhet | 78.9619
64 | Bogura 20 RPP (3 Yrs) Energy Prima | 0 | 20 | 2011 | 30.3411 | 0.17 | 3.47 |  | False | False | False | True | True | False | False | False | False | False | Bogra | bogra | 0
12 | Barabkundu SIPP 22 MW (Regent Power) | 76 | 22 | 2009 | 157.7652 | 0.82 | 2.94 | 3.09 | False | False | False | True | True | False | False | False | False | False | Barabkunda, Chittagong | chattogram | 149.4775
13 | Tangail SIPP (22 MW) (Doreen Power Ltd.) | 81 | 22 | 2008 | 141.1988 | 0.73 | 2.86 | 2.96 | False | False | False | True | True | False | False | False | False | False | Elenga, Tangail | tangail | 159.5889
14 | Feni SIPP (22 MW) (Doreen Power Ltd.) | 84 | 22 | 2009 | 160.0048 | 0.83 | 2.87 | 2.9 | False | False | False | True | True | False | False | False | False | False | Feni | feni | 165.6557
18 | Bogura RPP (24MW) 15 yrs | 87 | 22 | 2008 | 167.4902 | 0.87 |  | 4.09 | False | False | False | True | True | False | False | False | False | False | Bogura | bogura | 171.7225
17 | Bhola 32 MW (Venture Energy Resources Ltd.) | 66 | 33 | 2009 | 199.538 | 0.69 | 3.99 | 3.55 | False | False | False | True | True | False | False | False | False | False | Kheyaghat, Bhola | bhola | 193.0882
22 | Jangalia 33 MW (Summit Purbanchol Po. Co. Ltd.) | 81 | 33 | 2009 | 258.2576 | 0.89 | 3.65 | 4.06 | False | False | False | True | True | False | False | False | False | False | Comilla Sadar, Comilla | comilla | 237.9298
8 | Amnura 50MW Sinha Power | 5 | 50 | 2012 | 34.312 | 0.08 | 6.66 | 13.15 | False | False | False | True | False | True | False | False | False | False | Amnura, Chapainawabganj | chapainawabganj | 18.2059
57 | Katakhali (Northern) Peaking | 15.8 | 50 | 2012 | 21.6708 | 0.05 | 10.5 | 16.48 | False | False | False | True | False | True | False | False | False | False | Katakhali, Rajshahi | rajshahi | 66.6348
5 | Fenchugonj 51 MW Rental (15 Yrs) (Barakatullah) | 78 | 51 | 2009 | 353.0717 | 0.79 | 3.12 |  | False | False | False | True | True | False | False | False | False | False | Fenchuganj, Sylhet | sylhet | 352.4078
33 | Ashugonj 55 MW 3Yrs Rental (Precision Energy) | 57 | 55 | 2010 | 208.8067 | 0.43 | 5.23 | 4.55 | False | False | False | True | True | False | False | False | False | False | Ashuganj, Brahmanbaria | brahmanbaria | 276.4408
36 | Sahzibazar 86 MW RPP (15 yrs) | 82 | 86 | 2009 | 605.4847 | 0.8 | 3.37 | 3.54 | False | False | False | True | True | False | False | False | False | False | Madhobpur, Hobigonj | habiganj | 623.0402
51 | Shiddirganj Dutchbangla 100 MW | 19 | 100 | 2011 | 366.3626 | 0.42 | 12.53 | 20.19 | False | False | False | True | False | True | False | False | False | False | Siddhirganj, Narayanganj | narayanganj | 164.5127
56 | Julda Acorn Infra.service Ltd.100MW | 25 | 100 | 2018 | 189.9422 | 0.22 | 16.49 | 18.44 | False | False | False | True | False | True | False | False | False | False | Juldha, Chattogram | chattogram | 217.795
11 | Power Pac Mutiara,Keranigonj,100MW | 10 | 100 | 2011 | 217.866 | 0.25 | 8.23 | 27.37 | False | False | False | True | False | True | False | False | False | False | Keraniganj, Dhaka | dhaka | 84.5891
7 | Summit Power Co. Ltd Madangonj (100 MW) | 13 | 102 | 2011 | 353.3363 | 0.4 | 9.72 | 19.21 | False | False | False | True | False | True | False | False | False | False | Madanganj, Narayanganj | narayanganj | 113.5163
8 | KPCL( 115 MW) U-2 | 11 | 115 | 2011 | 433.6464 | 0.43 | 11.53 | 19.91 | False | False | False | True | False | True | False | False | False | False | Goalpara, Khulna | khulna | 107.977
3 | Fenchugonj 50 MW Rental (Energy Prima) | 13 | 44 | 2009 | 219.7947 | 0.86 | 3.27 | 3.03 | False | False | False | True | True | False | False | False | False | False | Fenchuganj, Sylhet | sylhet | 47.221
9 | Shahjahanullah Power Gen Co. Ltd. | 55 | 25 | 2013 | 102.6552 | 0.47 | 3.45 | 3.45 | False | False | False | True | True | False | False | False | False | False | Bondar Bazar, Sylhet | sylhet | 121.5175
2 | Khanjahan Ali Noapara 40 MW | 9 | 40 | 2011 | 92.2828 | 0.29 | 14.77 | 19,61 | False | False | False | True | False | True | False | False | False | False | Noapara, Jessore | jessore | 28.2293
50 | Ghorashal 78 MW QRPP (3 Yrs Max Power) | 0 | 78 | 2011 | 102.4493 | 0.35 | 7.92 | - | False | False | False | True | True | False | False | False | False | False | Palash, Narsingdi | narsingdi | 0
0 | Kutubdia 900KW Wind PP |  | 0 | 2008 | 0.6083 |  | 6.18 | 422 | False | False | True | False | False | False | False | False | False | True | Kutubdia, Cox Bazar | cox
57 | Ghorasal TPP Unit-6 | 0 | 0 | 2022 | -2.206 |  | 3.13 | 68129 | False | False | True | False | True | False | False | False | False | False | Palash, Narsingdi | narsingdi | 0
0 | Sharishabari 3 MW Engreen Solar Power Plant | 15 | 3 | 2017 | 3.9442 | 0.15 | 16.11 | 16.42 | True | False | False | False | False | False | False | False | True | False | Sarishabari, Jamalpur | jamalpur | 1.0606
2 | Kaptai Solar | 15.2 | 7 | 2019 | 9.7123 | 0.159 | 5.79 | 1556 | False | False | True | False | False | False | False | False | True | False | Kaptai, Chittagong | chattogram | 6.4767
1 | Sympa Solar Power 8 MW | 17 | 8 | 2019 | 11.269 | 0.16 | 11.04 | 11.26 | True | False | False | False | False | False | False | False | True | False | Majhipara, Panchagarh | panchagarh | 9.2376
11 | 20 MW Solar Teknaf | 21 | 20 | 2018 | 33.4382 | 0.19 | 11.8 | 12.04 | True | False | False | False | False | False | False | False | True | False | Teknaf, Cox Bazar | cox | 34.5599
92 | Saidpur 20 MW /GT | 0.74 | 20 | 1987 | 2.0647 | 0.013 | 95.47 | 182.97 | False | False | True | False | False | False | True | False | False | False | Saidpur, Nilphamari | nilphamari | 0
93 | Sylhet 1x20 MW /GT | 37.7 | 20 | 1986 | 111.0293 | 0.637 | 3.78 | 3.6 | False | False | True | False | True | False | False | False | False | False |  |  | 65.3951
94 | Bheramara GT unit-3 |  | 20 | 1980 | -0.1532 | 0 |  |  | False | False | True | False | False | False | True | False | False | False | Bheramara, Kushtia | kushtia
106 | Rangpur 20 MW /GT | 1.29 | 20 | 1988 | 1.4037 | 0.009 | 150.66 | 113.92 | False | False | True | False | False | False | True | False | False | False | Darshana, Rangpur Sadar, Rangpur | rangpur | 0
37 | Tangail Polly Power 22 MW TPPGCl |  | 22 | 2020 | 74.9804 | 0.39 | 12.43 | 15.83 | True | False | False | False | False | True | False | False | False | False | Gharinda, Tangail | tangail
62 | Haripur GTPP |  | 32 |  | -0.4225 |  |  | -693.2325 | False | False | True | False | True | False | False | False | False | False | Haripur, Thakurgaon | thakurgaon
16 | Manikganj 35MW Spectra Solar Park Ltd. | 17 | 35 | 2021 | 29.1477 | 0.1 | 10.36 | 11.96 | True | False | False | False | False | False | False | False | True | False | Manikganj | manikganj | 49.595
34 | 50 MW HDFC Solar Power Plant | 21 | 50 | 2020 | 64.8588 | 0.15 | 14.38 | 14.7 | True | False | False | False | False | False | False | False | True | False | Sutiakhali, Mymensingh | mymensingh | 89.9525
54 | Baraka Patenga | 51 | 50 | 2014 | 198.9216 | 0.45 | 11.88 | 15.55 | True | False | False | False | False | True | False | False | False | False | Patenga, Chittagong | chattogram | 224.4773
83 | Santahar 50 MW PP | 15.9 | 50 | 2012 | 42.8089 | 0.1 | 21.57 | 19.57 | False | False | True | False | False | True | False | False | False | False | Santahar, Bogra | bogra | 67.0832
15 | Sinha Peoples Energy Ltd.Katpatti 52.5 MW Exp | 5.7 | 51 | 2015 | 21.3606 | 0.05 | 38.65 | 19.58 | True | False | False | False | False | True | False | False | False | False | Alirtak, Narayanganj | narayanganj | 21.846
32 | Midland Power Co. Ashuganj 51 MW | 83 | 51 | 2013 | 294.124 | 0.66 | 3.16 | 2.75 | True | False | False | False | True | False | False | False | False | False | Ashuganj, Brahmanbaria | brahmanbaria | 375.2683
109 | Titas 50 MW Peaking PP | 23.3 | 52 | 2011 | 45.1598 | 0.104 | 17 | 18.5856 | False | False | True | False | False | True | False | False | False | False | Titas, Cumilla | comilla | 104.3633
12 | Lakdhanvi lanka- Bangla Jangalia Cumilla 52MW | 48 | 52 | 2014 | 158.5054 | 0.35 | 13.99 | 16.83 | True | False | False | False | False | True | False | False | False | False | Jangalia, Comilla | comilla | 219.4656
13 | Raj Lanka Power Gen.Com. Ltd.Nator 55 MW | 52 | 52 | 2012 | 146.3081 | 0.32 | 12.35 | 15.58 | True | False | False | False | False | True | False | False | False | False | Natore Sadar, Natore | natore | 238.1057
14 | Gazipur 52 MW PP | 47.3 | 52 | 2012 | 112.6812 | 0.255 | 15.93 | 18.11 | False | False | True | False | False | True | False | False | False | False | Kodda,Gazipur | gazipur | 216.2036
55 | Baghabari 50 MW Peaking RE | 23.8 | 52 | 1991 | 85.4892 | 0.191 | 14.52 | 1926 | False | False | True | False | False | True | False | False | False | False | Baghabari, Sirajgonj | sirajgonj | 106.6933
10 | Ashuganj 50 MW PP | 50.9 | 53 | 1986 | 184.7955 | 0.483 | 2.38 | 2.14 | False | False | True | False | True | False | False | False | False | False | Ashuganj, Brahmanbaria | brahmanbaria | 237.455
21 | Faridpur 50 MW Peaking PP | 9.7 | 54 | 2011 | 15.5429 | 0.037 | 46.96 | 20.93 | False | False | True | False | False | True | False | False | False | False | Dhuldi, Faridpur Sadar Upazila, Faridpur | faridpur | 42.6929
53 | Bhairab Power 54.5 MW | 42 | 54 | 2021 | 70.3824 | 0.15 | 12.48 | 16.95 | True | False | False | False | False | True | False | False | False | False | Bhairab, Kishoreganj | kishoreganj | 198.8912
66 | Kamalaghat Banco Energy Generation | 80 | 54 | 2018 | 309.349 | 0.65 | 11.47 | 15.83 | True | False | False | False | False | True | False | False | False | False | Kamalaghat Bazar, Mirkadam, Munshiganj | munshiganj | 382.6539
22 | Jodiac Power | 68 | 54 | 2019 | 276.7625 | 0.59 | 11.15 | 15.7 | True | False | False | False | False | True | False | False | False | False | Kolagaon, Patia, Chattogram | chattogram | 324.6236
19 | Dhaka(Doreen) Northern Power Ltd.Manikgonj | 62 | 55 | 2012 | 231.8441 | 0.48 | 11.39 | 16.48 | True | False | False | False | False | True | False | False | False | False | Singair, Manikganj | manikganj | 301.0598
21 | Summit Narayangonj Power unit-2 Madangonj (55 MW) | 60 | 55 | 2016 | 259.5017 | 0.54 | 11.44 | 17.29 | True | False | False | False | False | True | False | False | False | False | Madanganj, Bandar, Narayanganj | narayanganj | 291.2122
23 | Dhaka(Doreen) Southern Power Ltd.Nobabgonj | 64 | 55 |  | 237.8964 | 0.49 | 11.28 | 16.2 | True | False | False | False | False | True | False | False | False | False | Daulatpur, Nawabganj, Dhaka | dhaka | 310.9073
51 | Shahjibazar 70 MW GT, Habiganj | 72.3 | 70 | 2000 | 361.4274 | 0.628 | 3.64 | 3.04 | False | False | True | False | True | False | False | False | False | False | Shahjibazar, Habiganj | habiganj | 447.1291
19 | Baghabari 71 MW /GT Baghabari 100 MW /GT | 8.6 | 71 | 1991 | 57.6144 | 0.18 | 9.01 | 1652 | False | False | True | False | True | False | False | False | False | False | Baghabari, Rajshahi | rajshahi | 50.2281
84 | Bera 70 MW Peaking RE | 9.9 | 71 | 2011 | 31.2907 | 0.052 | 32.75 | 2259 | False | False | True | False | False | True | False | False | False | False |  |  | 58.4578
1 | Powerpac Mutiara Jamalpur Power plant Ltd | 2 | 95 |  | 289.7374 | 0.35 | 11.28 | 22.02 | True | False | False | False | False | True | False | False | False | False | Shahapur, Jamalpur | jamalpur | 12.6666
85 | Fenchuganj C.C. (Unit #1) | 49.4 | 97 | 1994 | 396.7305 | 0.662 | 3.61 | 3.12 | False | False | True | False | True | False | False | False | False | False | Fenchuganj, Sylhet | sylhet | 421.4463
107 | Hathazari 100 MW Peaking PP | 3.4 | 98 | 2011 | -0.8567 | 0.001 |  | 31.67 | False | False | True | False | False | True | False | False | False | False | Hathazari, Chattogram | chattogram | 25.3805
55 | Noapara100MW (Bangla Trac) | 12 | 100 | 2018 | 122.2197 | 0.14 | 31.38 | 36.28 | True | False | False | False | False | False | True | False | False | False | Noapara, Jashore | jessore | 102.3499
72 | Juldha Acorn 100 MW Unit-3 | 67 | 100 | 2020 | 610.5613 | 0.7 | 9.93 | 15.09 | True | False | False | False | False | True | False | False | False | False | Juldha, Patiya, Chattogram | chattogram | 590.7718
108 | Shahazibazar 100 MW GT | 7.3 | 100 | 2021 | 39.4552 | 0.052 | 1.89 | 8.98 | False | False | True | False | True | False | False | False | False | False | Shahjibazar, Sylhet | sylhet | 60.612
16 | Aggreko, Brahmangaon 100MW | 14 | 100 | 2019 | 28.8673 | 0.03 | 76.01 | 35.24 | True | False | False | False | False | False | True | False | False | False | Brahmangaon, Keraniganj | dhaka | 120.1107
17 | Aggreko, Aourahati 100MW | 15 | 100 | 2020 | 37.1663 | 0.04 | 64.13 | 33.58 | True | False | False | False | False | False | True | False | False | False | Aowrahati, Keraniganj, Dhaka | dhaka | 128.9911
70 | Digital Power & Associates Gagnagar | 49 | 102 | 2014 | 325.564 | 0.36 | 11.48 | 16.96 | True | False | False | False | False | True | False | False | False | False | Gognagar, Kashipur, Narayanganj | narayanganj | 439.5412
86 | Sangu, Dohazari-kaliaish 100 MW PPP | 15.2 | 102 | 2011 | 203.2578 | 0.234 | 13.4 | 19Jl4 | False | False | True | False | False | True | False | False | False | False | Satkania, Chattogram | chattogram | 133.44
71 | Orion Power Sonargaon Ltd. | 70 | 104 | 2020 | 451.8127 | 0.5 | 11.28 | 13.19 | True | False | False | False | False | True | False | False | False | False | Meghnaghat, Narayanganj | narayanganj | 642.0319
100 | Chapainobabgonj Peaking Power Station 100 MW, Amnura | 28.3 | 104 | 2017 | 259.4314 | 0.291 | 12.5 | 23.03 | False | False | True | False | False | True | False | False | False | False | Amnura, Chapainawabganj | chapainawabganj | 257.0534
52 | Fenchuganj C.C. (Unit #2) | 34.3 | 104 | 1994 | 240.2846 | 0.34 | 3.61 | 3.12 | False | False | True | False | True | False | False | False | False | False | Fenchuganj, Sylhet | sylhet | 312.446
49 | Modhumoti 105 MW NWPGCL | 11 | 105 | 2019 | 12.4258 | 0.015 | 127.97 | 28.45 | False | False | True | False | False | True | False | False | False | False | Modhumoti, Bagerhat | bagerhat | 98.3053
75 | Lobonchora Orion Power Rupsha Ltd. 105 MW | 59 | 105 | 2018 | 361.1674 | 0.004 | 12.7 | 16.73 | True | False | False | False | False | True | False | False | False | False | Rupsha, Khulna | khulna | 545.6664
105 | Tongi 80 MW GTPP | 0 | 105 | 2005 | -0.2004 |  |  |  | False | False | True | False | True | False | False | False | False | False | Tongi,Gazipur | gazipur | 0
32 | Gazipur 100 MW PP | 58.2 | 105 | 2019 | 370.9008 | 0.41 | 12.25 | 16.68 | False | False | True | False | False | True | False | False | False | False | Kodda, Gazipur | gazipur | 538.2104
34 | Baraka Shikalbaha 105MW PS | 66 | 105 | 2017 | 160.1848 | 0.17 | 17.38 | 16.07 | True | False | False | False | False | True | False | False | False | False | Shikalbaha, Chittagong | chattogram | 610.9066
69 | ECPV Chattogram Limited 108 MW | 43 | 108 | 2019 | 190.2545 | 0.2 | 13.5 | 17.58 | True | False | False | False | False | True | False | False | False | False | Patiya, Chittagong | chattogram | 407.8883
110 | CLC Power Co. Ltd. 108 MW Bosila Keranigonj | 0 | 108 | 2017 | 0 | 0 |  |  | True | False | False | False | False | True | False | False | False | False | Washpur, Keraniganj, Dhaka | dhaka | 0
5 | Regent Energy & Power Ltd 108 MW | 38 | 108 | 2014 | 591.4501 | 0.63 | 2.92 | 4.08 | True | False | False | False | True | False | False | False | False | False | Ghorashal, Palash, Narsingdi | narsingdi | 359.9694
103 | Gopalganj 100 MW Peaking PP | 2.2 | 109 | 2011 | 4.1326 | 0.007 | 218.79 | 51.49 | False | False | True | False | False | True | False | False | False | False | Gopalganj | gopalganj | 17.0629
10 | Summit Barishal (110 MW) | 6.5 | 110 | 2016 | 218.6086 | 0.23 | 14.49 | 36.85 | True | False | False | False | False | True | False | False | False | False | Rupatali in Barishal | barishal | 59.2228
37 | Karnaphuli Power Ltd. | 72 | 110 | 2019 | 87.2665 | 0.09 | 25.6 | 15.47 | True | False | False | False | False | True | False | False | False | False |  |  | 698.4796
73 | HF 113 MW Power Limited | 58 | 113 | 2019 | 551.0603 | 0.56 | 10.8 | 15.41 | True | False | False | False | False | True | False | False | False | False | Chowmuhani, Noakhali | noakhali | 577.1435
35 | Confidence Power Ltd. 113MW Rangpur | 63 | 113 | 2019 | 494.4 | 0.5 | 11.47 | 16.03 | True | False | False | False | False | True | False | False | False | False | Boiragigonj, Mithapukur, Rangpur | rangpur | 627.2606
36 | Bogura 113 MW PP (Confidence) Unit-1 | 62 | 113 | 2019 | 468.1931 | 0.47 | 11.68 | 16.46 | True | False | False | False | False | True | False | False | False | False | Ranirhat, Birgram, Bogura | bogura | 617.2371
39 | Confidence CPBL- 2 Bogura | 66 | 113 | 2019 | 447.8107 | 0.45 | 12.52 | 16.56 | True | False | False | False | False | True | False | False | False | False | Ranirhat, Birgram, Bogura | bogura | 657.3308
38 | United Jamalpur PPL | 62 | 115 | 2019 | 538.4717 | 0.53 | 12.39 | 17.25 | True | False | False | False | False | True | False | False | False | False | Jamalpur | jamalpur | 628.1398
77 | Anlima Chattogram 116 MW | 74 | 116 | 2021 | 125.1359 | 0.12 | 14.3 | 15.18 | True | False | False | False | False | True | False | False | False | False | Kolagong, Potiya, Chittagong | chattogram | 757.0375
76 | Kodda 150 MW PP |  | 149 | 2018 | 387.4975 | 0.308 | 15.1 | 19.84 | False | False | True | False | False | True | False | False | False | False | Kodda, Gazipur Sadar, Gazipur | gazipur
42 | Kodda Gazipur 149MW Power Ltd. (unit-1 Summit) ACE Alliance | 62 | 149 | 2018 | 791.75 | 0.61 | 10.57 | 16.49 | True | False | False | False | False | True | False | False | False | False | Kodda, Gazipur Sadar, Gazipur | gazipur | 813.4852
38 | United Payra PP Patuakhali Imp | 6 | 150 | 2021 | 33.4596 | 0.03 | 32.23 | 32.53 | True | False | False | False | False | True | False | False | False | False | Kholishkhali, Patuakhali | patuakhali | 75.4449
39 | Ashuganj TPP Unit-3 | 16 | 150 | 1987 | 222.9391 | 0.209 | 5.23 | 7.24 | False | False | True | False | True | False | False | False | False | False | Ashuganj, Brahmanbaria | brahmanbaria | 208.2112
42 | Ashuganj TPP Unit-4 | 0 | 150 | 1987 | 279.6746 | 0.261 | 5.23 | 7.24 | False | False | True | False | True | False | False | False | False | False | Ashuganj, Brahmanbaria | brahmanbaria | 0
48 | Ashuganj TPP Unit-5 | 18.5 | 150 | 1988 | 215.2755 | 0.202 | 5.23 | 7.24 | False | False | True | False | True | False | False | False | False | False | Ashuganj, Brahmanbaria | brahmanbaria | 241.4028
45 | Manikganj 162MW P0wer Generation | 73 | 162 | 2020 | 373.1234 | 0.26 | 13.55 | 15.81 | True | False | False | False | False | True | False | False | False | False | Singair, Manikganj | manikganj | 1042.0016
35 | Chandpur 150 MW CCPP | 54 | 163 | 2012 | 596.5169 | 0.441 | 3.55 | 223 | False | False | True | False | True | False | False | False | False | False | Chandpur | chandpur | 774.4466
50 | Kushiara power Co. Ltd (163MW)CCPP Fenchuganj | 73 | 163 | 2017 | 1065.5715 | 0.75 | 2.99 | 3.07 | True | False | False | False | True | False | False | False | False | False | Fenchuganj, Sylhet | sylhet | 1048.4201
104 | Bhola 225 MW CCPP | 39.8 | 194 | 2015 | 315.2895 | 0.201 | 6.49 | 538 | False | False | True | False | True | False | False | False | False | False | Kutba, Burhanuddin Upazila, Bhola | bhola | 678.169
60 | Paramount Baghabari BanglaTrack | 6 | 200 | 2019 | 22.1198 | 0.01 | 180.67 | 55.39 | True | False | False | False | False | False | True | False | False | False | Baghbari, Sylhet | sylhet | 101.8223
68 | Daudkandi 200MW(Bangla Trac) | 9 | 200 | 2018 | 40.5404 | 0.02 | 105.72 | 42.33 | True | False | False | False | False | False | True | False | False | False | Gouripur, Titas Upazila, Cumilla | comilla | 154.8409
78 | Desh Energy Chandpur 200 MW | 43 | 200 | 2018 | 535.4999 | 0.31 | 13.57 | 17.2 | True | False | False | False | False | True | False | False | False | False | Gunrajdi, Chandpur | chandpur | 755.7186
23 | 210 MW Shiddirganj TPP | 0 | 210 | 2019 | -1.287 |  |  |  | False | False | True | False | True | False | False | False | False | False | Shiddhirganj, Narayanganj | narayanganj | 0
26 | Siddhirganj 2x120 MW GTPP | 6.6 | 210 | 2019 | 563.9633 | 0.318 | 4.78 | 14.05 | False | False | True | False | True | False | False | False | False | False | Siddhirganj, Narayanganj | narayanganj | 118.2291
87 | Rauzan 210 MW /ST (1st) | 27.8 | 210 | 1997 | 403.4491 | 0.297 | 5.2 | 423 | False | False | True | False | True | False | False | False | False | False | Raozan, Chattogram | chattogram | 511.534
89 | Rauzan 210 MW /ST (2nd) | 13.4 | 210 | 1997 | 0 |  | 5.2 | 423 | False | False | True | False | True | False | False | False | False | False | Raozan, Chattogram | chattogram | 244.3835
96 | Ghorasal TPP Unit-5 | 30.9 | 210 | 1989 | 963.6894 | 0.62 | 3.13 | 68129 | False | False | True | False | True | False | False | False | False | False | Palash, Narsingdi | narsingdi | 569.0456
9 | Sirajgonj 210 MW CC (NWPGCL) Unit-1 | 12.9 | 210 | 2012 | 216.5913 | 0.122 | 11.01 | 9.56 | False | False | True | False | True | False | False | False | False | False | Soydabad, Sirajganj | sirajgonj | 235.1074
15 | Rural Power Company Ltd.(RPCL) | 61 | 210 | 2007 | 1150.0912 | 0.63 | 3.34 | 3.73 | True | False | False | False | True | False | False | False | False | False |  |  | 1127.4644
56 | Ghorasal Repowered CCPP Unit-4 | 29.3 | 210 | 2022 | 280.5226 | 0.197 | 3.13 | 68129 | False | False | True | False | True | False | False | False | False | False | Palash, Narsingdi | narsingdi | 539.3622
18 | Sirajgonj 210 MW CC (NWPGCL) Unit-3 | 66 | 220 |  | 1447.0055 | 0.781 | 3.38 | 3.89 | False | False | True | False | True | False | False | False | False | False | Soydabad, Sirajganj | sirajgonj | 1278.2554
20 | Nutan Biddyut 220MW Bhola | 85 | 220 | 2021 | 266.9117 | 0.14 | 1.76 | 3.01 | True | False | False | False | True | False | False | False | False | False | Kutba Union, Burhanuddin Upazila, Bhola | bhola | 1647.4513
45 | Ashuganj 225 MW CCPP | 83.1 | 221 | 1987 | 1574.3307 | 0.828 | 3.26 | 3.32 | False | False | True | False | True | False | False | False | False | False | Ashuganj, Brahmanbaria | brahmanbaria | 1617.8383
60 | Shikalbaha 225 MW PS | 19.7 | 225 | 2017 | 1014.6721 | 0.536 | 2.98 | 852 | False | False | True | False | True | False | False | False | False | False | Sikalbaha, Chittagong | chattogram | 387.2436
53 | Karnafuli Hydro | 37 | 230 | 1962 | 654.9908 | 0.326 | 3 | 2.7 | False | False | True | False | False | False | False | True | False | False | Kaptai, Rangamati | rangamati | 747.2778
54 | Sylhet 225 MW CCPP |  | 231 | 2020 | 1075.5239 | 0.548 | 2.95 | 213 | False | False | True | False | True | False | False | False | False | False | Sylhet | sylhet
58 | Barapukuria Coal based S/T (unit 1,2) | 20.13 | 250 | 2006 | 86.4905 | 0.078 | 11.24 | 8.13 | False | False | True | False | False | False | False | False | False | False | Durgapur, Dinajpur | dinajpur | 440.0363
95 | Ghorasal Repowered CCPP Unit-3 | 0.3 | 260 | 2021 | 47.1487 | 0.023 | 3.13 | 68129 | False | False | True | False | True | False | False | False | False | False | Palash, Narsingdi | narsingdi | 2.6696
101 | Barapukuria Coal based S/T (unit 3) | 50.83 | 274 | 2018 | 1098.3259 | 0.518 | 8.82 | 8.13 | False | False | True | False | False | False | False | False | False | False | Durgapur, Dinajpur | dinajpur | 1224.8191
48 | Kodda Gazipur 300MW Power Ltd.(unit-2 Summit) | 54 | 300 | 2018 | 1280.2528 | 0.49 | 10.91 | 17.18 | True | False | False | False | False | True | False | False | False | False | Kodda, Gazipur | gazipur | 1424.9138
49 | United Anwara 300MW PS | 64 | 300 | 2019 | 1195.9981 | 0.46 | 11.36 | 16.66 | True | False | False | False | False | True | False | False | False | False | Rangadia, Anwara, Chittagong | chattogram | 1689.5673
26 | Summit Meghnaghat Power Co.Ltd. | 57 | 305 | 2015 | 1559.0939 | 0.58 | 4.2 | 4.22 | True | False | False | False | True | False | False | False | False | False | Meghnaghat, Sonargaon, Narayanganj | narayanganj | 1529.3684
99 | Shahjibazar 330 MW CCPP | 39.3 | 330 | 2016 | 1505.2982 | 0.546 | 2.84 | 4B4 | False | False | True | False | True | False | False | False | False | False | Shahjibazar, Habiganj | habiganj | 1139.5365
29 | Siddhirganj 335 MW CCPP | 51.1 | 335 | 2019 | 1042.3959 | 0.373 | 3.52 | 4.2 | False | False | True | False | True | False | False | False | False | False | Siddhirganj, Narayanganj | narayanganj | 1505.4177
52 | Haripur Power Ltd. | 61 | 360 | 2001 | 2315.379 | 0.73 | 1.68 | 1.7 | True | False | False | False | True | False | False | False | False | False |  |  | 1931.9758
62 | Ashuganj 450 MW CCPP (North) | 66.8 | 360 | 2017 | 2088.9237 | 0.694 | 2.82 | 2.95 | False | False | True | False | True | False | False | False | False | False | Ashuganj, Brahmanbaria | brahmanbaria | 2116.0726
64 | Ashuganj 450 MW CCPP (South) | 70 | 360 | 2017 | 1955.573 | 0.646 | 3.87 | 3.76 | False | False | True | False | True | False | False | False | False | False | Ashuganj, Brahmanbaria | brahmanbaria | 2217.6433
97 | Ghorasal 365 MW CCPP Unit-7 | 49.9 | 365 | 2018 | 1315.1245 | 0.434 | 3.35 | 68129 | False | False | True | False | True | False | False | False | False | False | Palash, Narsingdi | narsingdi | 1601.5898
98 | Bibiyana - South 383 MW CCPP | 78.8 | 383 | 2021 | 1351.3021 | 0.406 | 1.95 | JBS | False | False | True | False | True | False | False | False | False | False | Bibiyana, Habiganj | habiganj | 2656.3174
91 | Bibiana III 400 MW CCPP | 64.1 | 400 | 2019 | 1839.712 | 0.549 | 2.04 | 133 | False | False | True | False | True | False | False | False | False | False | Bibiyana, Habiganj | habiganj | 2255.8114
58 | Haripur 412 MW CCPP | 57.7 | 412 | 1987 | 1817.5804 | 0.527 | 3.01 | 2.5 | False | False | True | False | True | False | False | False | False | False | Haripur, Bandar, Narayanganj | narayanganj | 2091.0405
33 | Sembcorp NWPGCL | 78 | 414 | 2016 | 2945.2366 | 0.81 | 3.07 | 3.24 | True | False | False | False | True | False | False | False | False | False |  |  | 2841.909
79 | Payra, Potuakhali 2*660 MW PP (U-1) | 40.5 | 622 | 2020 | 2049.4159 | 0.397 | 8.6 | 13.85 | False | True | False | False | False | False | False | False | False | False | Payra, Patuakhali | patuakhali | 2214.2582
81 | Payra, Potuakhali 2*660 MW PP (U-2) | 38.3 | 622 | 2020 | 1762.5061 | 0.339 | 8.6 | 13.85 | False | True | False | False | False | False | False | False | False | False | Payra, Patuakhali | patuakhali | 2093.7485
3 | Shikalbaha 150 MW Peaking PP | 50 | 150 | 2010 | 641.9223 | 0.505 | 3.28 | 8.63 | False | False | True | False | True | False | False | False | False | False | Shikalbaha, Chittagong | chattogram | 659.6169